## Slide 1: Autonomous Hospital Room Sanitization and Drug Delivery Rover Robot
MCE 592
&
COE 596
Capstone Design II
Advised by:
Dr. Joe Tekli
Presented by:
Abbas Abdallah
Hasan Bazzi
Mohamad Jaber
Mohammad Nasser

## Slide 2: Table of Contents
Motivation
Why is the proposed idea a source of interest?
``
Our Implementation
Based on literature, what final design we will go for?
Limitations and Constraints
Under what conditions can the system operate?
Software Design
Programming part of the system
Hardware Design
Mechanical and Electrical aspect of the system
Alignment with SDGs
How is the proposed solution supporting SDG goals?

## Slide 3: Motivation

## Slide 4
Fig. 1. Food delivery in hospitals [1]
Fig. 2. Medical supplies delivery [2]
Motivation
An autonomous robot that can handle simple, yet necessary daily tasks in hospitals
Fig. 3. Hospital cleaning [3]

## Slide 5: Our Implementation

## Slide 6
System’s Architecture
Fig. 4. System’s Architecture

## Slide 7
System’s Activity Diagram
Fig. 5. System’s Activity Diagram

## Slide 8: Hardware Design

## Slide 9
1. Robot Chassis:
Fig. 6. Turtlebot3 burger’s icon
Fig. 7. Turtlebot3 burger hardware components
plates
wheels
2D LiDAR
DC motors
Lithium battery
RPi 4 model B
Open CR

## Slide 10
1. Robot Chassis:
Fig. 8 Turtlebot3 burger assembly
Fig. 9 System’s assembly done in FYP1

## Slide 11
2. Mechanical Design Adjustments:
missing!
Fig. 10 Components availability constraints
Fig. 11 Plate design constraints

## Slide 12
Use them for plate supports
2. Mechanical Design Adjustments:
Fig. 12 Bolts and nuts
Video 1 Plate addition demonstration
Fig. 14 Designed plate addition supports
Fig. 13 Positions to place supports

## Slide 13
2. Mechanical Design Adjustments:
Video 2 System’s Assembly
Fig. 15 plate design

## Slide 14
2. Mechanical Design Adjustments:
Fig. 16 Complete Assembly

## Slide 15
2. UV-C LEDs and Reflective Surfaces:
Fig. 17 Reflection percentage of different materials
Fig. 18 Designed material for reflection

## Slide 16
2. Mechanical Design Adjustments:
Video 3 Lighting without reflective materials
Video 4 Lighting with reflective material

## Slide 17
3. Vacuum Cleaner:
Video 5 Vacuum cleaner working principle
Fig. 19 Vacuum cleaner’s CAD model

## Slide 18
3. Vacuum Cleaner:
Video 6 Vacuum cleaner hardware testing
Figure 20 Vacuum cleaner electrical circuit connections
12V
GND
5V

## Slide 19
4. Disinfection Solution Pump:
Figure 21 Pump electrical circuitry
Video 7 Pump hardware testing

## Slide 20: Software Implementation

## Slide 21
5. Computer Vision and AI Model:
5.1. Data Collection
Figure 22 Samples of collected data

## Slide 22
5. Computer Vision and AI Model:
5.2. Data Augmentation
Figure 23 Samples of augmented data

## Slide 23
5. Computer Vision and AI Model:
5.3. Model’s Evaluation
Test Accuracy: 96%
Precision: 96%
Recall: 95%
F1-score: 95%
Figure 24 Tensorboard evolution of training accuracy
Figure 25 Tensorboard evolution of loss

## Slide 24
5. Computer Vision and AI Model:
5.4. Real Time CV Classification
Video 8 Computer vision clean tiles classifier

## Slide 26
6. Navigation:
6.1. Manual Exploration of the Map
Figure 26 Keyboard controls for turtlebot3
Figure 27 Moving the robot across the environment

## Slide 27
6. Navigation:
6.1. Manual Exploration of the Map
Video 9 Manual movement of the turtlebot

## Slide 28
6. Navigation:
6.2. Autonomous Exploration of the Map
Video 10 RVIZ of the bump and go algorithm
Video 11 Gazebo of the bump and go algorithm

## Slide 29
6. Navigation:
6.3. Autonomous Exploration of the Map
Figure 28 Bump and go in the house map
Figure 29 Generated map of the house

## Slide 30
6. Navigation:
6.4. Autonomous Nav2 Goal
Video 12 Cartographer navigation

## Slide 31
6. Navigation:
6.5. Autonomous Follow of Trajectory
Video 13 Navigation testing of the robot

## Slide 32: Limitations and Constraints

## Slide 33
Alignment with SDGs:
Functional Constraints
Autonomous Operation
The robot works autonomously, but receives instructions on where to go and what to do from hospital staff.
Navigation
The robot is already provided with the map of the environment, and it only does navigation.
Path Planning
No specific path planning algorithm is done, the coordinates of the path the robot should move in is done for each separate room and the robot follows the path provided for each room.
Limited Delivery
The medications to be delivered are to be determined by the hospital staff.
The hospital staff manually put the drugs or the food to be delivered, and those delivered items are assumed to be taken successfully.

## Slide 34
Alignment with SDGs:
Non-Functional Constrains
Environment
The robot is operating in static environments.
We assume that all the obstacles are detected by the 2D LiDAR sensor.
The doors are connected by IoT to the robot by which they automatically open when the robot reaches the room, and close when the robot leaves.
Weight
The robot should be lightweight (<12kg).
Safety
The UVC LEDs should be operating in environments where no humans are present.
The robot automatically turns off the UVC LEDs if a human is detected.
Chemical Liquids used for spraying/mopping are assumed to be non toxic and safe for hospital environments and materials.

## Slide 35
Cost:
Components | Price (U.S. $)
TurtleBot3 Burger model | 659.30 $ + shipping fees
LED strips | 18.00 $
DC motor for vacuum cleaner | 5 $
L293D H-bridge | 1.5 $
External Batteries | 15 $
Wires | 10 $
Plastic PLA for 3D printing | 18 $/kg [46]
Pi Camera | 32 $ [47]
LDR | 1 $/piece [48]
Low LPM pump motor | 6.25 $ [49]
Tube for vacuum cleaner | 10 $
Tube for sprinkler | 10 $
2 Relay | 2 $ [50]
Total | 
Components | Price (U.S. $)
TurtleBot3 Burger model | 659.30 $ + shipping fees
LED strips | 18.00 $
DC motor for vacuum cleaner | 5 $
L293D H-bridge | 1.5 $
External Batteries | 15 $
Wires | 10 $
Plastic PLA for 3D printing | 18 $/kg [46]
Pi Camera | 32 $ [47]
LDR | 1 $/piece [48]
Low LPM pump motor | 6.25 $ [49]
Tube for vacuum cleaner | 10 $
Tube for sprinkler | 10 $
2 Relay | 2 $ [50]
Total | 

## Slide 36: Standards and Alignment with SDGs

## Slide 37
Standards:
ISO 15858:2016
UV-C equipment safety guidelines to ensure safe exposure levels for humans [15]
ISO 13485:2016
Quality management for medical devices used in drug delivery [15]
ISO 28199
Standards for evaluating surface cleanliness and disinfection effectiveness [15]
RoHS (Restriction of Hazardous Substances Directive)
  To ensure that the materials used in the robot are environmentally friendly [16]

## Slide 38
Alignment with SDGs:
SDG 3
Good health and well being
SDG 8
Decent work and economic growth
SDG 9
Industry, Innovation, and Infrastructure
SDG 12
  Responsible consumption and production
SDG 13
  Climate action

## Slide 39
References:
[1] NYC Health + Hospitals, 11 September 2018. [Online]. Available: https://www.nychealthandhospitals.org/pressrelease/new-meal-delivery-system-enhances-the-patient-experience/. [Accessed 11 January 2025].
[2] "Medical Healthcare Cleaning," Tralin Cleaning Services, 2020. [Online]. Available: https://tralin.co.uk/medical-healthcare/. [Accessed 11 January 2025].
[3] "The Comprehensive Guide to Delivering Medical Supplies Safely and Efficiently," Detrack, 2 October 2023. [Online]. Available: https://www.detrack.com/blog/delivering-medical-supplies/. [Accessed 11 January 2025].
[4] "Tribotix," 2019. [Online]. Available: https://tribotix.com/wp-content/uploads/2018/07/TB3-Waffle-Plate-IPL-01-8ea-_detail.jpg.
[5] B. Ma, S. Burke-Bevis, L. Tiefel, J. Rosen, B. Feeney and K. G. Linden, "Reflection of UVC wavelengths from common materials during surface UV disinfection: Assessment of human UV exposure and ozone generation," Science of the Total Environment, vol. 869, 2023.